Application of membrane biological reactor for enhanced nutrient removal.

KA Strevett, PhD
Professor of Civil and Environmental Engineering
Center for Research of Ecosystems and Watersheds
University of Oklahoma

In many sensitive water bodies, there is an increasing trend to reduce the phosphorus loading, as low as 1 ppm to 50 ppb in several waste load allocation studies. Key to reducing nutrients to these low levels is the development of effective tertiary treatment. In tertiary treatment design, the use of a membrane biological reactor (MBR) combines the traditional chemical nutrient removal technology with biological nutrient removal via a membrane unit operation.  The development of MBR is a result in part due to the limitations of traditional biological nutrient removal (BNR) processes as well as chemical nutrient removal (CNR) processes. Traditional BNR processes utilize a combination of aerobic, anoxic and anaerobic processes. While efficient at total nitrogen removal, the key limitation identified with BNR is the efficacy of phosphorus reduction. Aside from the phosphate accumulating organisms, and anabolic metabolism; BNR is not optimize to achieve low, viz. 1 ppm, phosphorous concentration. The CNR process incorporates metal coagulant to enhance the chemical precipitation of phosphorous. Current research has demonstrated that the MBR technology capable of sub-ppm phosphorous, ammonia (TKN) and ppm-level total nitrogen removal. The goal of this presentation will be to introduce MBR technology and present process configurations and operational parameters within a case study approach.