Activated Sludge Process and Biosolids Management
Abstract

This lecture presents a brief overview on the theoretical and practical aspects of biological treatment plant design particularly the activated sludge process and biosolids generation, treatment and disposals.  Fundamental principles of biochemical operations are discussed together with the stoichiometry and kinetics of these reactions. The practical application of mathematical models to various reactor configurations constitutes the major portion of the course.

Activated Sludge Process and Biosolids Management
	Topics

	Introduction to Biological Wastewater Treatment
1. Elements of wastewater management systems

2.Wastewater characteristics

3. Wastewater treatment objectives

4. Classification of wastewater treatment methods

5. Overview: treatment process flow diagrams

	

	Fundamentals, Stoichiometry, and Kinetics of Biochemical Operations
2. Modeling microbial systems in material balances

3. Stoichiometry of biochemical operations

4. Kinetics

	

	Basic CSTR modeling and application 

	1.Material Balances for substrate, biomass and Oxygen utilization
2.Solids separation problems

	Biosolids Management

	1.Types of sludges

	2.Sludge treatment processes

	3. Disposal methods

	3. Calculations


2
2

